## Slide 1
Alessandro Tripodo
alessandro.tripodo@camilliani.net
CASA DI CURA SAN CAMILLO
FORTE DEI MARMI (LU)
CHIRURGIA ARTROSCOPICA E PROTESICA

## Slide 2
PLANNING PREOPERATORIO E SCELTA DEL GRADO DI VINCOLO DELL’IMPIANTO PROTESICO

## Slide 3
Facile applicabilità e in tempi brevi
Facilmente sostituibile in caso di revisione
Ampie indicazioni
Longevità
Bassa incidenza di complicazioni
L’impianto protesico ideale:

## Slide 4
Massimo grado di soddisfazione del paziente anziano e non
L’impianto protesico ideale:

## Slide 5: OBIETTIVO PRINCIPALE:
Ridurre il dolore
Ripristinare la funzione
Dare stabilità
Durare a lungo

## Slide 6: Chiave della durata nel tempo:
Ripristinare l’asse meccanico
Ottimizzare il bilanciamento
in flessione ed in estensione
Ripristinare la cinematica
Ottenere ottimale fissazione

## Slide 7: Coronal Alignment and Failure Rate
Lower failure rate when mechanical alignment is restored
Ritter, et al: JBJS 93(A) 17, 2011
The more we fail to restore neutral alignment, the higher revision rate is expected.
Ripristinare l’asse meccanico
Notes: - At what degrees and in which circumstances do knees fail?
- Well, they fail exactly in the zones that navigation or a form of guidance help us avoid
If you look at a recent study from Ritter et al., knees have lower failure rate at 6-7 degrees of anatomical axis ( or 0⁰ mechanical) and final HKA alignment with varus greater than 2 degrees anatomical (7-8 ⁰ varus mechanical) have a failure rate of 9.1%. This rate is multiplied in the obese patients population.
Addionally, this study is telling us that:
- Compensating for valgus femoral malalignment with a more varus tibial component (≥8° valgus) to achieve neutral overall alignment is associated with a 7.8% failure rate
- Compensating with one of the 2 component to reach overall alignment was associate with higher failure rate
- Again if we show in this graphic some guidance technology data, we see that navigation can help us out in the areas where failure rate is at its highest.
- Cut validation is key
Other details of the study (if you want to use them)
On 6070 TKA, mean duration for follow-up 7.6 years (+/-3.8y), 6 surgeons performed surgeries
Knees with both neutral tibial and femoral alignment has the lowest failure rate 0.2% (9/4633)
60.5% of knees (3673/6070) were well-aligned in the three measures (tibial alignment, femoral alignment and overall anatomic alignment) and were associated with a 0.22% failure rate
39.5% of knees (2397/6070) in which at least one of the three measures was not neutral had a failure rate of 1.9% (46/2397)

## Slide 8: Sagittal Alignment and Function
Bellemans et al., 2005
target slope 0°
target slope 4°
target slope 7°
Importance of restoring the correct tibial slope to achieve good flexion!
Ripristinare l’asse meccanico
Notes: - At what degrees and in which circumstances do knees fail?
- Well, they fail exactly in the zones that navigation or a form of guidance help us avoid
If you look at a recent study from Ritter et al., knees have lower failure rate at 6-7 degrees of anatomical axis ( or 0⁰ mechanical) and final HKA alignment with varus greater than 2 degrees anatomical (7-8 ⁰ varus mechanical) have a failure rate of 9.1%. This rate is multiplied in the obese patients population.
Addionally, this study is telling us that:
- Compensating for valgus femoral malalignment with a more varus tibial component (≥8° valgus) to achieve neutral overall alignment is associated with a 7.8% failure rate
- Compensating with one of the 2 component to reach overall alignment was associate with higher failure rate
- Again if we show in this graphic some guidance technology data, we see that navigation can help us out in the areas where failure rate is at its highest.
- Cut validation is key
Other details of the study (if you want to use them)
On 6070 TKA, mean duration for follow-up 7.6 years (+/-3.8y), 6 surgeons performed surgeries
Knees with both neutral tibial and femoral alignment has the lowest failure rate 0.2% (9/4633)
60.5% of knees (3673/6070) were well-aligned in the three measures (tibial alignment, femoral alignment and overall anatomic alignment) and were associated with a 0.22% failure rate
39.5% of knees (2397/6070) in which at least one of the three measures was not neutral had a failure rate of 1.9% (46/2397)

## Slide 9: LA PTG NON E’ DA CONSIDERARE UN INTERVENTO SEMPLICE

## Slide 10: PLANNING PREOPERATORIO PROTESI TOTALE ANCA
Primi impianti e revisioni
- taglia
  - offset
  - lunghezza

## Slide 11
Poco utilizzato
Taglia mono e totale
Allineamento
Casi difficili post-traumatici e revisioni??
PLANNING PREOPERATORIO PROTESI TOTALE GINOCCHIO

## Slide 12: TC PREOP
STUDIO DEFORMITA’, DEFICIT OSSEI O ALTRO……

## Slide 13
Uomo 83aa

## Slide 14
Uomo 73aa

## Slide 15: RX preop
Standing AP hip-knee-ankle
Standing AP knee
Supine lateral knee
Sunrise view patella

## Slide 16: Templating Method Femoral Size
Undersized Correct
Lateral radiograph

## Slide 17: Templating Method Tibial Size
Lateral radiograph
At fibular head

## Slide 18: Templating Method Alignment
Hip – knee – ankle radiograph
Distal femur resection angle
goal 0 hip-knee

## Slide 19: Templating Method Alignment
Standing AP knee radiograph
Prox. tibial resection (goal 0)
measure med, lat resection (mm)

## Slide 20: L’ENTRY POINT è INDIVIDUALE come lo è il paziente.
L’ ENTRY POINT per la guida intramidollare è il punto dove l’asse anatomico interseca la superficie distale femorale articolare.

## Slide 21: The entry point :

## Slide 22: Si raccomanda:
L‘identificazione dell’asse anatomico e conseguentemente l’entry point.

## Slide 23: Templating Primary TKA Conclusioni
Planning Pre-op per scegliere taglia
Per l’allineamento sul piano coronale
Per corretto entry point
Planning è semplice, no spese aggiuntive ed applicabile a qualunque tipologia di impianto

## Slide 24
CR
Cruciate Retaining
PS
Posterior Stabilized
KR
Kinematic Retaining
  Quale tipo di protesi scegliere??
  Una protesi per ogni ginocchio

## Slide 25
CLASSIFICARE IL PAZIENTE
Età anagrafica e biologica
Livello di attività
Tipo di lesione/patologia

## Slide 26
26
PREFERIAMO USARE L’IMPIANTO MENO VINCOLATO PER QUEL TIPO DI PAZIENTE E DI GINOCCHIO
SCELTA DEL TIPO DI PROTESI
CR: QUANDO NON VI E’ ALTERAZIONE IMPORTANTE DELLA ANATOMIA O INSTABILITA’ DEL LCP
PS: OTTIMA SCELTA QUANDO COLLATERALI SUFFICIENTI E PCL NO
SEMIVINCOLATA: QUANDO PRESENTE MODERATA INSTABILITA’ IN VARO-VALGO
VINCOLATA: GRAVE INSTABILITA’

## Slide 27
Età anagrafica/biologica

## Slide 28
Livello di attività

## Slide 29
Tipo di lesione/patologia

## Slide 30
OTTIMA QUALITA’ OSSEA
LCP FUNZIONALMENTE VALIDO
COLLATERALI OTTIMALI
PZ ATTIVO
QUANDO CR

## Slide 31: Donna 68aa

## Slide 32: Donna 68aa

## Slide 33: Donna 75aa

## Slide 34: Donna 75aa

## Slide 35: Donna 75aa

## Slide 36: Donna 75aa

## Slide 37: Donna 75aa

## Slide 38
BUONA QUALITA’ OSSEA
PIVOT CENTRALE INSTABILE
COLLATERALI SUFFICIENTI
QUANDO PS

## Slide 39: Donna 67aa

## Slide 40: Donna 67aa

## Slide 41: Donna 67aa

## Slide 42
Uomo 56aa

## Slide 43: Uomo 56aa

## Slide 44: Uomo 45aa

## Slide 45
Uomo 45aa

## Slide 46
DISCRETA QUALITA’ OSSEA
PIVOT CENTRALE INSTABILE
COLLATERALI MODERATAMENTE INSUFFICIENTI
QUANDO SEMIVINCOLATE

## Slide 47
DONNA 76aa

## Slide 48
DONNA 76aa

## Slide 49
DONNA 63aa

## Slide 50
DONNA 63aa

## Slide 51
QUALITA’ OSSEA GRAVEMENTE SCADENTE
PIVOT CENTRALE INSTABILE: LCP
ARTI NEUROLOGICI
COLLATERALI INSUFFICIENTI
QUANDO VINCOLATA

## Slide 52: MA QUANDO POSSIBILE:

## Slide 53: MA QUANDO POSSIBILE:

## Slide 54: MA QUANDO POSSIBILE: MONOCOMPARTIMENTALI

## Slide 55: MA QUANDO POSSIBILE: MONOCOMPARTIMENTALI

## Slide 56
MA QUANDO POSSIBILE: MONOCOMPARTIMENTALI

## Slide 57
“Behind every tecnique
and every design
there are
choices and compromises”
John Insall

## Slide 58
GRAZIE alessandro@tripodo.net